## Slide 1: 2018 ASHRAE LowDown Showdown Modeling Competition
43 | 40
2018 Building Performance
Analysis Conference and SimBuild
Taking energy modeling to the
September 27, 2018

## Slide 2: PROJECT SUMMARY
Green field
Solar park
Light done right
Precision comfort
2018 ASHRAE LowDown Showdown Modeling Competition

## Slide 3
EUI = 40.7 kWh / m2
Annual utility cost = 4840 $/yr
Simple payback: 35 years
What makes our project special
  Collaborative workflow
  Optimized design
  In-house integrated disciplines
2018 ASHRAE LowDown Showdown Modeling Competition
PROJECT SUMMARY
ARCHITECTURE + ENGINEERING
= NET ZERO

## Slide 4
Front-end loaded design
Design using Autodesk
Detailed energy modeling
Tailored analysis
2018 ASHRAE LowDown Showdown Modeling Competition
ENERGY EFFICIENCY – THE WORKFLOW

## Slide 5: ENERGY EFFICIENCY – THE MEASURES
Site
Green roof
Envelope
Daylighting
Demand control ventilation
Ground source VRF
Geoexchange
2018 ASHRAE LowDown Showdown Modeling Competition

## Slide 6
2018 ASHRAE LowDown Showdown Modeling Competition
ENERGY EFFICIENCY – THE SOFTWARE

## Slide 7
WELL and energy were both considered
Difficulties: Feature 21 and CFD
2018 ASHRAE LowDown Showdown Modeling Competition
WELL MEASURES
Notes: - WELL measures were considered in advance
- measures were selected considering WELL and energy
- e.g. daylighting, VRF, DCV, natural ventilation
- difficulties: feature 21 suggests computational fluid dynamics analysis; this is onerous and was not completed
- typically, there was positive alignment betweel WELL features and energy efficiency
- costs were captured in ECM capital cost estimates
- clarity varied depending on the feature
- e.g. lighting features were straighforward
- ventilation features were more convoluted

## Slide 8
Heating demand > cooling demand
Solar thermal energy recharges ground
Maintains system efficiency
Ground source VRF integral to efficiency and comfort
2018 ASHRAE LowDown Showdown Modeling Competition
NOVELTY: GEO-SOLAR
THERMAL STORAGE

## Slide 9: NOVELTY 2: SHEEP
Sheep live on the grounds
Wool insulation replenished
Supports Colorado sheep industry
Occupants will love the sheep
2018 ASHRAE LowDown Showdown Modeling Competition

## Slide 10: TEAM WORK
Front-end loaded design
Multi-disciplinary collaboration
Diverse skill sets
Debate produced better ideas
Weekly collaboration meetings
2018 ASHRAE LowDown Showdown Modeling Competition

## Slide 11: RESULTS SUMMARY
2018 ASHRAE LowDown Showdown Modeling Competition
 | IP | SI
Total Energy Use [gal - Liter] | 773,460 | 226,679
Total Water Use [gal - Liter] | - | -
Total PV Production Use [kBtu - kWh] | 834,528 | 244,253
Total Energy & Water Cost [$] | 4,840 | 4,840
Total EUI [kBtu/ft2 – kWh/m2] | 12.9 | 40.7
Total Energy Cost [$/ft2 - $/m2] | .0.081 | 0.87

## Slide 12: CONCLUSION
Workflow: taking energy modeling to the limit.
Design: precise occupant comfort and net zero.
Sheep: the occupants will love them. Who wouldn’t?
2018 ASHRAE LowDown Showdown Modeling Competition