## Slide 1: 2021 ASHRAE LowDown Showdown Modeling Competition
Agua Viviente
2021 Building Performance
Analysis Conference
2021 ASHRAE LowDown Showdown Modeling Competition
Water Sustaining Life
Presentation Overview
Project Summary
Site Selection
Energy Efficiency/Resiliency Measures
Firm/Team Participation
Software Workflow
Conclusion

## Slide 2: Agua Viviente Residential Care Center
2021 ASHRAE LowDown Showdown Modeling Competition
EUI: 18.6 kBtu/ft2/yr
EUI 2030: 9.5 kBtu/ft^2/yr
CUI: 1.64 kgCO2e/ft^2

## Slide 3: Site
Borinquen, Aguadilla, Puerto Rico
Location Criteria:
Historical hurricane tracks
Senior well-being/Emergency Response Time
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 4: Energy Efficiency Measures
2021 ASHRAE LowDown Showdown Modeling Competition
Transparent Solar Panels
3-Stage Water Turbine
Turbine Supply Waterfall
Rainscreen Cladding
Innovative Design
Utilize heavy yearly rainfall to provide a grandiose atrium waterfall
Direct rainfall into water turbine generation system

## Slide 5: WELL Measures
2021 ASHRAE LowDown Showdown Modeling Competition
Fitness Center paired with
Greywater onside watering system
BioCrete
Lowlight Plants
5-Story Living Wall
natural foods throughout the day

## Slide 6: Outdoor Activities
2021 ASHRAE LowDown Showdown Modeling Competition
Gallery Space
Walkways and glass room around Atrium
Farmers Market - Arts and Crafts - Community Events

## Slide 7: Resiliency Measures
2021 ASHRAE LowDown Showdown Modeling Competition
Site Location
Inegrated Trench Drains
Hurricane Rated Windows
Site Generated Power Storage

## Slide 8: Agua Viviente Collaboration – Meet the Firms
BMA MECHANICAL+
Consulting Engineering and Design Firm
Mechanical, Plumbing, Energy, Fire and Commissioning
Expertise in Commercial, Healthcare, Education, Multi-Family, Hospitality
Extensive 4,500+ project portfolio over a 30+yr period
Focused on excellence in design and setting the California Standard
REISS DESIGN STUDIO, PC
Architectural Office with many interdisciplinary partners
Winery, Hospitality – LEED Certified Portfolio
Customized Solution – Oriented
Located on Central California – Retirement Communities
Research & Implementation
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 9: Agua Viviente – Meet the Team
Dustin Lane (Senior Energy Analyst/Team Captain)
Kyler Peterson (Energy Specialist)
Pedro Salcedo (Energy Modeler)
Sarunas Banakas (Mechanical Designer)
Allison Bolla (Architectural Designer)
Jessica Haecherl (Architectural Drafter)
Esmeralda Zamora (Architectural Drafter)
BMA
RDS
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 10: Software Use
Site Selection
Modeling Software
Team Communication
Rendering Software
Energy Analysis/PAT Software
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 11: Community Engagement
Central to nineteen local beaches, minutes from the world renowned surfing beach Crash Boat Beach
Outdoor terrace and rooftop with spectacular ocean views
Atrium entrance waterfall which exhibits the capabilities of renewable resources to the community
Pathways through Puerto Rico's natural habitats outside Agua Viviente's front door
Hurricane shelter for locals and residents, with hurricane viewing windows
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 12: Results Summary
 | IP | SI
Total Energy Use [kBtu - kWh] | 3,906,703 | 193
Total Water Use [gal - Liter] | 926,970 | 616
Total Onsite Production [kBtu - kWh] | 4,192,720 | 215
Total Energy & Water Cost [$] | 137,634 | 137,634
Total Site EUI [kBtu/ft2 – kWh/m2] | 18.6 | 58.9
Total CUI 2030 [kBtu/ft2 – kWh/m2] | 1.6 | 18
Total CUI 2050 [kBtu/ft2 – kWh/m2] | 1.6 | 18
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 13: Conclusions
The design parameters offered a unique creative challenge pushing the limits of innovation, invoking us to develop the HydroTurbine power generation system. With prudent passive design techniques, this combined approach proved to be the most viable building solution
Mass proved to be our friend. In both energy production and passive design, mass provided a significant source of highly concentrated power generation and thermal stability
PV's have an inherently high carbon foot and low relative power production
Puerto Rico doesn't get very cold, and it rains a lot!
2021 ASHRAE LowDown Showdown Modeling Competition