## Slide 1: 2021 ASHRAE LowDown Showdown Modeling Competition
The Planeteers
2021 Building Performance
Analysis Conference
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 2
2021 ASHRAE LowDown Showdown Modeling Competition
Site EUI 20.7 kBtu/ft2
Source EUI -13.4 kBtu/ft2
CUI(2030) 4.7 kg CO2e/ft2
CUI(2050) -10.2 kg CO2e/ft2
Operating Cost -$53,271
Payback Period 5 years

## Slide 3: Project Goals
2021 ASHRAE LowDown Showdown Modeling Competition
Project Goals
Minimize the carbon footprint for the development both from the construction and operational side
Maximize the use of passive design strategies to increase the thermal, visual, and air quality experience of the space
Use of next-generation materials to develop low-maintenance, resilient solutions
Use of landscape and building articulation to engage with the community at large
GOAL 1 Develop an assisted living community that integrates with and strengthens the community at large.
GOAL 2 Maximize the use of passive design strategies to increase the thermal, visual, and air quality experience of the space
GOAL 3 Limit or eliminate active cooling systems and complicated environmental controls
GOAL 4
Use of next-generation materials to develop replicable low-maintenance, resilient solutions
GOAL 5 Minimize the carbon footprint for the development from both the construction and operational side

## Slide 4: Local Context
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 5: Town of Punta Santiago
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 6: Learning from the Vernacular Raised Massing, Shading, and Breezeways Public/Private Dimensions in Traditional Housing
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 7: Climate Responsive Design - Inspirations
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 8: Community Engagement to Community Center (P.E.C.E.S.) Main Road Entrance Sequence Prevailing Wind 1. Gardens inviting to community 2. Main entrance and Lobby 3. Dining and Kitchen 4. Offices 5. Clinic Facility 6. Slow Road 7. Typical Residence
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 9: Open Space Network to Community Center (P.E.C.E.S.) Main Road Entrance Sequence 1. Street facing gardens 2. Entry court garden 3. Community kitchen and dining 4. Neighborhood road 5. Residential gardens 6. Elevated semi-private terraces 7. Elevated walkways
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 10: Community
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 11: Architectural Passive Design
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 12: Passive Design Approach - Shading Only Hygroscopic shades
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 13: Passive Design Approach - Shading with Single Orientation Operable Windows Hygroscopic shades Operable windows
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 14: Passive Design Approach - Shading with Cross Ventilation Hygroscopic shades Cross ventilation
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 15: Passive Design Approach - Shading with Cross Ventilation and Decoupled Thermal Mass Hygroscopic shades Cross ventilation Decoupled thermal mass
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 16: Passive Design Approach - Summary Hygroscopic shades Cross ventilation Decoupled thermal mass Operable windows
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 17: Innovation - Passive Solar Dehumidification
2021 ASHRAE LowDown Showdown Modeling Competition
Moisture Pump

## Slide 18: Innovation - Decoupled thermal mass
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 19: Energy Systems
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 20: Operational Energy End-Use Breakdown
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 21: On-site Renewables 22% Efficiency 19,125 SF Covered 561,194 kWh production On-site Energy Storage 500 kWh Battery Capacity
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 22: Resilience
Elevated first level and adjacent sunken gardens provide flood resilience
PV and energy storage provide capability for off grid operation during outage event
Rainwater storage and on-site water treatment provide freshwater resilience
Prefab modular design provides greater quality control of structure than traditional stick frame construction
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 23: Materials & Construction
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 24: Innovation in Construction PV Structure Modular Dwelling Unit Prefabricated Circulation Unitized Foundation (Decoupled Thermal Mass)
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 25: Realized Embodied Carbon by Material Category
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 26: Cumulative Carbon Emissions
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 27: Water Balance 1,166,639 gal 771,242 gal/yr captured 69,444 gal cistern 935,973 gal 1,332,716 gal
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 28: Annual Water Balance Results
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 29: Modeling Practices
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 30: Team Composition
2021 ASHRAE LowDown Showdown Modeling Competition
Annie Kwon Architect
Chris Sharples Principal
Berardo Matalucci Environmental Design
Jessie Li Designer
Forest Tainer-Gesner Project Lead
Alan Shepherd Coach
Kirsten Robinson Designer & Modeler
Chrissa Turley Designer & Modeler

## Slide 31: Results Summary
2021 ASHRAE LowDown Showdown Modeling Competition
 | IP | SI
Total Energy Use [kBtu - kWh] | 1,555,372 | 455,835
Total Water Use [gal - Liter] | 2,467,467 | 1,346
Total Onsite Production [kBtu - kWh] | 1,914,794 | 561,171
Total Energy & Water Cost [$] | -$53,271 | -$53,271
Total Site EUI [kBtu/ft2 – kWh/m2] | 20.7 | 65
Total CUI 2030 [kg CO2e/ft2 – kg CO2e/m2] | 4.4 | 47.4
Total CUI 2050 [kg CO2e/ft2 – kg CO2e/m2] | -11.3 | -121.3

## Slide 32: Conclusions
Lessons Learned
Key Innovations
Future Studies
2021 ASHRAE LowDown Showdown Modeling Competition

## Slide 33
Thank You